## Part 8 Compliance
Report Submission for: |  | Building Permit Application |  |  |  | Schedule C/Occupancy Verification
Statement of Compliance - National Energy Code of Canada for Buildings 2020 Summary Report to NECB Part 8 - Performance Model
Project Name: | [5 empty] | Building Permit Number (Completed Internally)
Project Address: | x
Applicant Name:
Applicant Address:
Please note that this Performance Compliance Summary must be accompanied by an NECB Part 8 Energy Model Report at the time of submission. The applicant can choose to submit their own report generated by energy modeling software or complete and submit the reports contained within this document. Both forms of report should include:
1. Illustrations in plans & sections of thermal blocks used in modeling for the proposed and reference buildings
2. All relevant information as required in NECB Division C 2.2.2.8.
3. Building Envelope Thermal Bridging Calculation Spreadsheet
4. Lighting Take-off Spreadsheet
General Conditions Checklist
The Coordinating Professional hereby certifies that the proposed building design represented in the construction documents and modelled for this permit application are consistent with all other forms and worksheets, specifications and other calculations submitted with this permit application. The proposed building, as designed, meets the requirements of the NECB.
Summary of Energy Usage per End Use
End Use |  | Reference (GJ) |  |  | Percentage of Energy Use | Proposed (GJ) |  |  | Percentage of Energy Use | Energy Savings (%)
|  | Electricity | Natural Gas | Other |  | Electricity | Natural Gas | Other
Heating
Cooling
Interior Lighting
Exterior Lighting
Fans
Pumps
Heat Recovery
Heat Rejection
Service Water Heating
Receptacle Equipment
Other Equipment:
(Please specify)
(Please specify)
(Please specify)
(Please specify)
(Please specify)
On-Site Generation
Total Annual Energy (GJ) |  | 0 | 0 | 0 |  | 0 | 0 | 0
National Energy Code of Canada for Buildings 2020 Summary Compliance Results
Tier Pursued |  |  |  | 1e-09%
Summary of Modelled Outputs
|  |  | Reference | Proposed | Additional Comments
Modelled Floor Area (m2)
Total Energy Use Intensity (kWh/m2/yr)
Greenhouse Gas Emissions Intensity (tonne CO2/m2/yr)
Annual Thermal Energy Demand Intensity (kWh/m2/yr)
Annual Cooling Energy Demand Intensity (kWh/m2/yr)
Building Peak Electricity Demand (kW)
Number of hours heating loads not met
Number of hours cooling loads not met
Summary of Modelled Inputs
|  |  | Reference | Proposed | Additional Comments
Indicate Software used - including version
Simulation Weather File
Building Use Classification
Typical Operating Schedule
Average Occupant Density (m²/person)
Is Interior heat gain taken into account? |  |  | N/A | N/A
Average Wall Clear Field R-Value (m²K/W)
Average Wall Effective R-Value (m²K/W)
Average Roof Clear Field R-Value (m²K/W)
Average Roof Effective Field R-Value (m²K/W)
Average Floor Effective Field R-Value (m²K/W)
Average Fenestrations Effective U-Value (W/m²K)
Average Fenestrations Solar Heat Gain Coefficient
Is thermal mass taken into account? |  |  | N/A | N/A
Average Lighting Power Density (W/m²)
Is Daylighting taken into account? |  |  | N/A | N/A
Are occupancy/daylight sensors taken into account? |  |  | N/A | N/A
Average Ventilation Rate (L/s/m²)
Is demand control ventilation modelled? |  |  | N/A | N/A
Air Leakage Compliance Path |  |  | N/A
Modelled Infiltration Rate (L/s/m²)
Average HRV/ERV Sensible Efficiency (%)
Heating System Summary
Reference |  |  |  |  | Proposed
Cooling System Summary
Reference |  |  |  |  | Proposed
Ventilation System Summary
Reference |  |  |  |  | Proposed
Water Heating System Summary
Reference |  |  |  |  | Proposed
Document Referenced
Discipline |  | Document Name |  |  | Date Issued |  | Prepared By
Architecture Drawings
Mechanical Drawings
Electrical Drawings
(Please specify)
(Please specify)
(Please specify)
Declaration of Energy Modeling Professional
Building energy performance compliance meets NECB 2020 | [9 empty] | N/A
Name: | [6 empty] | Date:
(INSERT CONSULTANT INFORMATION HERE) | [6 empty] | (STAMP REQUIRED)
Part 8: Performance Model
Energy Model Compliance Summary
(2024/05)
Note on A13: as per A-3.1.1.5.(5)(a), refer to "Building Envelope Thermal Bridging Guide", available through BC Hydro or other licensing services. https://www.bchydro.com/content/dam/BCHydro/customer-portal/documents/power-smart/builders-developers/betbg-enhanced-spreadsheet.xlsm
Note on A14: Account for all controls required by NECB. Controls savings should be shown. Separate calculations for interior and exterior lighting.
Note on H21: If values differ, adjust automated calculation.
Note on L21: If values differ, adjust automated calculation.
Note on K22: Provide fuel type here, if multiple "other" fuels are used, combine and provide details in summary below.
Note on H48: If values differ, adjust automated calculation and provide details.
Note on H49: if values differ, adjust automated calculation and specify emission factors for other fuel types. For more information on emission factors, refer to: https://data-donnees.az.ec.gc.ca/data/substances/monitor/canada-s-official-greenhouse-gas-inventory?lang=en
Note on H57: Must be ASHRAE 140 Compliant.
Note on H59: i.e. Office, Residential, Industrial, etc.
Note on H60: NECB Schedule, i.e. NECB A or NECB G. Please specify if an alternate is used.
Note on H63: Average or overall means value should be area-weighted based on full project.
Note on H64: Must match the Building Envelope Thermal Bridging Calculation Spreadsheet.
Note on H69: Reference and Proposed must be identical.
Note on H71: Must match the Lighting Take-off Spreadsheet.
Note on H77: If savings are claimed, ensure an air-leakage report is provided.
Note on A79: Provide a detailed description in the Energy Modelling Report. Including, but not limited to: Boiler (size and efficiency), Chiller (size and COP), Heat Pump (size and COP), Heating and cooling backup systems (control triggers, size, efficiency), Fan (power and flow rate), Pump (power and flow rate), Ventilation system (flow rate and performance), Heat Recovery (flow rate and efficiency), Water Heater (size and efficiency), Temperature/Humidity Setpoints for Plant and System Level Equipment.